Approach/Retraction of SPM Tip

MCL Program Characteristics:

* The MCL counter range is 0-102, 51 is 0 volts
* The voltage range of the MCL is -10 to 10 volts
* 0-10 volts is the MCL counter range 51-0
* -10-0 volts is the MCL counter range 51-102